## Slide 1
ALGORITHM
Dr Alexander Shukhobodskiy and Dr Aleksandr Zaitcev - Leeds Beckett University, School of Built Environment, Engineering & Computing
RED WoLF

## Slide 2
Lowering the CO2 emissions
Lowering the construction cost and bills
Removing wet heating system
Saving the PLANET!
Introduction - motivation
(not this)
(this)

## Slide 3
What is CO2 intensity?
How do we reduce it?
Using the CO2 threshold
“CO2 Threshold? What are these people talking about?”
Basic idea

## Slide 4
Design of the system
The extra components:
PV panel
Battery
Storage heaters
Water cylinder
Predictive server
Controller (eg. PLC)

## Slide 6
Introducing the grid
Where does the power come from?

## Slide 7
The original one day scenario

## Slide 8
Estimate the power demand and generation
Estimate the requirements of energy storages
Calculate the minimum amount of time to supply the house from the grid
Find the threshold by sorting the CO2 levels with the aid of the time estimate
CO2 threshold - how to calculate it?

## Slide 9
Two days scenario

## Slide 10
Eight days scenario and CO2 saving
Winter savings are up to 30% and during Summer almost 100% !
Winter case
Summer case
PV (kW) | 0 | 2 | 4 | 8
REDWoLF (kg) | 140 | 132 | 121 | 110
REDWoLF | 151 | 151 | 151 | 151
Rel.CO2 | 7.6% | 12.5% | 20.3% | 27.4%
PV (kW) | 0 | 2 | 4 | 8
REDWoLF (kg) | 44 | 27 | 4 | 3
REDWoLF | 50 | 50 | 50 | 50
Rel.CO2 | 11.7% | 44.9% | 93% | 93.4%

## Slide 11
Modified system for Belgium (different house profile)
Savings can be even higher than in London!
Winter case
Summer case
PV (kW) | 0 | 2 | 4 | 8
REDWoLF (kg) | 136 | 131 | 120 | 103
REDWoLF | 151 | 151 | 151 | 151
Rel.CO2 | 10.5% | 13.9% | 21.2% | 32.3%
PV (kW) | 0 | 2 | 4 | 8
REDWoLF (kg) | 43 | 26 | 3 | 3
REDWoLF | 50 | 50 | 50 | 50
Rel.CO2 | 13.2% | 47.3% | 93% | 93%

## Slide 12
Conclusion and discussion
RED WoLF target minimises CO2 emissions by only using the grid when CO2 emission level is low
The annual savings of CO2 58 %
The annual savings of Price 62 %

## Slide 13
Oldham installation site June 2020

## Slide 14
Thank you
for your attention!