## Slide 1: GenComm 28 Nov 2019 Building Filling Stations
Dr Peter Watters CEng FIMechE FIEI

## Slide 2: Filling Stations
Alternative Fuels Directive
Petroleum Licensing & Blue Book & Hydrogen
CNG/LNG
Electric Vehicles
Alternative Fuels Workshop 12 Feb 2019 &
NSAI – CNG Technical Committee Aug & Oct 2019

## Slide 5: 1. Filling Stations - Future

## Slide 6: 1. Filling Stations - Future

## Slide 7: 2. ITM presentation Feb 2019 to CEN WG
Petroleum Licensing & Blue Book & Hydrogen

## Slide 13
Proposed informative annex in EN13617-1 for petrol/diesel refuelling

## Slide 15
Dutch initiative multifuel refuelling stations
Concept prepared, open for discussion

## Slide 16
Site boundary
Shop or
internal Vulnerable Object
3 meter
Vehicle
LNG refuelling installation
Storage
Storage
Storage
Dispenser
Tank trailer
8 meter
3 meter
Site boundary
3 kW/m2: 3 meter
3 kW/m2: 3 meter
Vehicle
Hydrogen refuelling installation
Compressor
Storage
Storage
Storage
Dispenser
Pipeline
Tube trailer
200 bar
Tube trailer 500 bar
On site production
5 meter
3 kW/m2: 4 meter @ 1000 bar
3 kW/m2: 3 meter @ 350 bar
3 kW/m2: 8 meter @ 500 bar
3 kW/m2: 5,5 meter @ 200 bar
3 kW/m2: 2,5 meter @ 8 bar
Vehicle
CNG refuelling installation
Compressor
Storage
Storage
Storage
Dispenser
3 meter
no internal safety distance
when automatic shut off
in case of emergency
CNG Storage to
vehicle refuelliing
10 meter
15 meter
Vehicle
LPG refuelling installation
Storage
Storage
Storage
Dispenser
Tank trailer
5 meter
10 meter
10 meter
Vehicle
Petrol refuelling installation
Storage
Storage
Storage
Dispenser
Tank trailer
Vehicle
Diesel refuelling installation
Storage
Storage
Storage
Dispenser
Tank trailer
Vehicle
High power charging
Dispenser
Electrical connection
15 meter

## Slide 17: 3. NSAI & CRU – CNG
CNG stations built to EN Standards
CRU Requested Safety Case
CRU requirement of ALARP standard
EN Standard meets ALARP
Move towards common EU standards

## Slide 18: 3. CNG & LNG Standards
Published standards
EN 13423:2000, Compressed natural gas vehicle operations
EN ISO 16923:2018, Natural gas fuelling stations – CNG stations for fuelling vehicles (ISO 16923:2016)
EN ISO 16924:2018, Natural gas fuelling stations – LNG stations for fuelling vehicles (ISO 16924:2016)
Active work items
prEN 13423:2000rev, Compressed natural gas vehicle operations
prEN 17278, Natural gas vehicles – Vehicle fuelling appliances
Natural gas fuelling stations — Guidance for implementation of European standards on CNG and LNG stations for fuelling vehicles

## Slide 22: 2030 – Filling station?

## Slide 23: Filling Stations
Multiple Options
VHS Vs Betamax Vs Netflix
Education and Communications
Moving towards 2050

## Slide 24: GenComm 28 Nov 2019 Biomethane Vision 2050 Filling Stations
Questions & Answers ?